## Slide 1
FIXED-DESIGN ACTOR TRAINING
DDPG Results Summary
PV = 6.6 kWp • Battery = 4.5 kWh • Prioritized replay + rule-based warm-start
MCD310 | September 2026

## Slide 2
SESSION SUMMARY
What We Did This Session
1
Launched actor training
Started DDPG training for the actor with design fixed at PV = 6.6 kWp, battery = 4.5 kWh.
2
Diagnosed a false stall
Background CPU checks looked frozen; a control test proved processes were actually running fine — switched to log-based progress checks.
3
Explained the pipeline
Walked through the actor/critic architecture, hyperparameters, reward equations, gradient computation, and target-network updates in detail.
4
Flagged a plateau
Training reward stayed flat (−83 to −88) through iteration 45 with no clear upward trend — training was stopped for review.
5
Implemented two improvements
Added Prioritized Experience Replay (TD-error-weighted sampling) and a rule-based warm-start to pre-fill the replay buffer before training.
6
Restarted training
Re-launched with both improvements; the run reached iteration 185/500 before the session was interrupted.

## Slide 3
SETUP
Three Configurations Tested
Baseline
PV 6.6 / Battery 4.99, plain DDPG
ITERATIONS
500 / 500 (complete)
FIRST-10 AVG
−94.27
LAST-10 AVG
−91.95
NET CHANGE
+2.5%
No PER
PV 6.6 / Battery 4.5, plain DDPG
ITERATIONS
45 / 500 (stopped)
FIRST VALUE
−87.97
LAST VALUE
−85.27
STATUS
No clear trend
PER + Warm-start
PV 6.6 / Battery 4.5, our two fixes
ITERATIONS
185 / 500 (interrupted)
FIRST VALUE
−88.09
LAST VALUE
−85.40
STATUS
No clear trend

## Slide 4
CONVERGENCE
Training Reward vs. Iteration
Chart: Training iteration
Battery 4.5, no PER | -87.968 | -86.443 | -84.409 | -85.664 | -83.056 | -84.798 | -86.422 | -84.413 | -85.266
Battery 4.5, PER + warm-start | -88.089 | -86.864 | -84.719 | -86.66 | -84.555 | -85.204 | -86.061 | -84.681 | -85.696 | -85.356 | -85.51 | -85.49 | -84.419 | -84.252 | -86.413 | -85.596 | -83.845 | -85.608 | -84.96 | -85.082 | -84.67 | -89.337 | -88.274 | -86.487 | -86.897 | -86.083 | -86.119 | -86.107 | -84.658 | -84.864 | -85.126 | -83.883 | -87.079 | -86.078 | -84.77 | -86.661 | -85.402
Training reward includes exploration noise (σ=0.20) and is not a clean measure of policy quality — see next slide.

## Slide 5
INTERPRETATION
Key Finding: A Persistent Plateau
500 / 500
iterations completed for the baseline run
+2.5%
reward change from first 10 to last 10 iterations
~iter 20
where every run's reward flattens out
All three configurations — including the one that ran the full 500 iterations — show the same pattern: reward drops sharply in the first ~20 iterations, then oscillates in a narrow band with no further improvement. Prioritized replay and the rule-based warm-start did not change this shape within the iterations reached, which points to a structural limit (exploration noise that never decays, a very small actor learning rate, or unnormalized reward scale) rather than a replay-buffer problem.

## Slide 6
WHERE TO GO FROM HERE
Recommended Next Steps
1
TD3-style critic fix
Twin critics (clipped double-Q) + delayed, smoothed actor updates — targets DDPG's core overestimation-bias failure mode directly.
2
Anneal exploration noise
Decay σ from 0.20 toward ~0.05 over training instead of holding it fixed — lets the actor exploit as it improves.
3
Scale the reward
Normalize the raw CHF cost signal so critic targets aren't dominated by scale swings.
4
Track deterministic reward mid-run
Log the noise-free evaluation reward periodically, not just at the very end, to separate real learning from exploration noise.
5
Finish a run to completion
Let the PER + warm-start run reach all 500 iterations uninterrupted before judging whether it helped.

## Slide 7
CURRENT STATUS
Training is paused, not finished
The PER + warm-start run reached iteration 185 of 500 before the session/process was interrupted — it did not crash.
No deterministic (noise-free) evaluation has been completed yet for either battery = 4.5 configuration.
The original battery = 4.99 baseline is the only run with a full 500-iteration result, and it also plateaued early.
Ready to resume training, extend it to completion, or apply the next-step changes on the previous slide — your call.